## TEA Data
HTL
Bio-crude
size | FCI ($) | OPEX ($/yr) | Coproduct sales revenue ($/yr) | Yield (mmBTU/dry ton) | Throughput (MGD) | Bio-Crude (MMBTU/yr)
0 to 1 | 2031185 | 20677 | 0 | 12 | 0.5 | 1376
1 to 10 | 6472306 | 142669 | 0 | 12 | 3.5 | 9491
10 to 100 | 22405331 | 1130188 | 0 | 12 | 27.3 | 75189
>100 | 57900000 | 5500000 | 0 | 12 | 133 | 365904
>100 | 90075550 | 11487970 | 0 | 12 | 277.8 | 764272
Biofuel
size | FCI ($) | OPEX ($/yr) | Coproduct sales revenue ($/yr) | Yield (mmBTU/dry ton) | Throughput (MGD) | Biofuel (MMBTU/yr)
0 to 1 | 4816611 | 60902 | 0 | 11 | 0.5 | 1279
1 to 10 | 15347972 | 420226 | 0 | 11 | 3.5 | 8827
10 to 100 | 53130430 | 3328917 | 0 | 11 | 27.3 | 69926
>100 | 137300000 | 16200000 | 0 | 11 | 133 | 340291
>100 | 213598844 | 33837293 | 0 | 11 | 277.8 | 710773

## Metadata
Source: Snowden-Swan et al. PNNL. 2016. Hydrothermal Liquefaction and Upgrading of Municipal Wastewater Treatment Plant Sludge: A Preliminary Techno-Economic Analysis.
Notes: The numbers for 133 MGD case (bolded lines) came from PNNL’s report, and all other cases were regressed from the cost numbers from the 133 MGD facility. Operating cost was regressed linearly. But, capital estimation was calculated using an exponential scaling expression as the following equation, with n=0.6 :
New Cost = (Base Cost)*(New Size/Base Size)^n
Since the base cost is for a facility more than 100 fold larger than the smallest facility (wastewater throughput 133 MGD vs. 0.5 MGD), the capital cost might not be estimated accurately there. We could decrease n from 0.6 to 0.4 to be a little more conservative on that. It is totally up to you. The above table has n hold as constant of 0.6.